| S# | Description/ Specifications | Total Amount (Rs.) |
| --- | --- | --- |
| 1. | Boring for water, 4” dia (average 100 feet depth). Complete in all respect |  |
| 2. | Installation of casing and delivery pipes, and hand pump. Including all fitting accessories like joint solvent/solution (Kawsar), filter cloth, nylon net, Samad bond, solution tape, etc. Complete in all respect. |  |
| 3. | Platform Construction: Provision and construction of platforms as per design Complete in all respect. (1). Excavation and compaction. (2). 4” inch Bed with Bricks (3). Hand pump fixing: Platform of given sizes made of bricks masonry 4.5” with cement 1:4 (4). Plaster on external surfaces cement sand 1:4 |  |
| 4. | Plaque: Designing, Provision and installation of marble (Ziarat marble – full white) plaque including designing, printing with long lasting color and transportation. (Size Width 1 inch, length 2ft & Height 1.5ft). Complete in all respect. |  |
| 5. | Paint: Supply and apply 3 coat of weather shield paint of approved color on external surface as per approved design. Complete in all respect. |  |
| 6. | Penaflex: Standy 2x5 |  |
| 7. | Reporting: Three Time |  |
| 8. | Video Doucumentry |  |
| Total Amount (in Digits) |  |  |
| Total amount in words: Pak Rupees ________________________________________________ |  |  |